Using the Microscope

A compound light microscope uses two lenses and a light source to make objects appear larger. The object is magnified by a lens near your eye, the ocular lens (sometimes called the eyepiece), and again by a second lens, the objective lens, which is just above the object. The comparison of the actual size of the object with the size of its image is referred to as magnification.

# Parts of the microscope

Body Tube – Contains ocular lens, supports objective lenses.

Clips - 	Found on the stage and used to hold the slide in position.

Coarse-adjustment

Knob	Moves the body tube up or down so you can get the object into focus. *It is used with the low-power objective lens only.*

Condenser Lens – Directs light to the object.

Diaphragm - 	Regulates the amount of light reaching the object being viewed.

Fine-adjustment

Knob	Moves the tube to get the object into sharp focus. It is used with medium and high-power magnification. It is used ONLY after the object has been located and focused under low-power magnification using the coarse adjustment knob.

Objective Lenses – Magnifies the object. Usually three lenses are found on the nosepiece immediately above the object. The low-power objective lens has the lowest magnification, usually four times (4x). The medium-power lens magnifies by 10x, and the long, high-power lens by 40x.

Ocular Lens – Magnifies the object, usually by 10x. Also known as the eyepiece, this is the part you look through.

Revolving Nosepiece – Rotates, allowing the objective lens to be changed.

Stage – Supports the microscope slide.

Base – Supports the microscope.

Arm – Attaches the base to the body tube.

When carrying a microscope, ALWAYS hold it in an upright position with one hand supporting the base and the other grasping the arm.